## Table 1
Page 1 of 2
TESTING SUMMARY DATE RECIEVED: 11/21/2024 DATE REPORTED: 11/23/2024 PESTICIDES: PASS HEAVY METALS: PASS RESIDUAL SOLVENTS: PASS MYCOTOXINS: PASS ANALYTICAL METHODS » PESTICIDES & MYCOTOXINS: LS-MS / MS » POTENCY: HPLC UV-VIS DETECTOR » HEAVY METALS: ICP-MS » RESIDUAL SOLVENTS: Headspace GC-FID ANALYTICAL INFO > POTENCY The estimation of uncertainty is: [THCA ± 0.31%] [THC ± 0.15%] [CBDA ± 0.02%] [CBD ±0.07%]. Total THC = THCa * 0.877 + d9-THC, Total CBD = CBDa * 0.877 + CBD, Total Cannabinoids = the sum of all cannabinoids tested, LOQ = Limit of Quantitation: the reported result is based on a sample weight with the applicable moisture content for that sample; unless otherwise stated all quality control samples performed within specifications established by the Laboratory. > MYCOTOXINS The estimation of uncertainty is: [Aflatoxin ± 2 ppb] [Ochratoxins ± 2 ppb] LOQ = Limit of Quantitation, the reported result is based on a sample weight with the applicable moisture content for that sample; unless otherwise stated all quality control samples per-formed within specifications established by the Laboratory > PESTICIDES The estimation of uncertainty for pesticides is: [All analytes ± 0.011 ppm] [Except for Spinosyn: ±0.022, Cyfluthrin: ±0.008, Permethrins: ±0.022, Chlorfenapyr: ±0.038 ppm] > HEAVY METALS The estimation of uncertainty is: [Arsenic: ± 0.12 ppm, Cadmium ± 0.10 ppm , Lead ± 0.11 ppm , Mercury ± 0.10 ppm ]. Heavy metals are not covered under I502 Lab certification. All Heavy metals testing conforms to the WAC 314-55-103 Good Laboratory checklist and QA/ QC requirements. > RESIDUAL SOLVENTS Residual Solvents the estimation of uncertainty is: [Acetone: ±2.4ppm] [Benzene: ±0.03ppm] [Butanes: ±1.4ppm] [Chloroform: ±0.01ppm] [Cyclohexane: ±2.3ppm] [Dichloromethane: ±2.3ppm][Ethyl-Acetate: ±2.2ppm] [Heptane: ±2.6ppm] [Hexanes: ±0.5ppm] [Isopropanol: ±2.1ppm] [Methanol: ±2.3ppm] [Pentanes: ±0.9ppm] [Propane: ±2.6ppm] [Toluene: ±2.5ppm] [Xylenes: ±0.8ppm]; LOQ= Limit of Quantification, the reported result is based on a sampleweight with the applicable moisture content for that sample; unless otherwise stated all quality control samples performed within specifications established by the Laboratory. This product has been tested by Green Grower Labs using validated testing methodologies and a quality system as required by state law. Values reported relate only to the product tested. Green Grower Labs makes no claims as to the efficacy, safety or other risks associated with any de- tected or non-detected levels of any compounds reported herein. This Certificate shall not be reproduced except in full, with-out the written approval of Green Grower Labs. Flower samples are separated for the required field of test- ing, then homogenized before testing using liquid nitrogen. The results in this report relate only to the sample tested. All measurements have a degree of uncertainty. As re- quired per WAC 314-55-103 the estimation of uncertainty has been calculated and reported here as a range. The range assumes a 95% confidence interval.
Certificate of Analysis Laboratory license: #0012 ¦ (509) 981-2266 ¦ 124 E. Rowan Spokane, WA www.greengrowerlabs.com Sample ID: GF41667005530129
Origination: | PURFORM LABS |  |  |  |  | Sample Name: |  |  |  | VTA Distillate
License: | 416670 |  |  |  |  | Type: |  |  |  | Hydrocarbon Concentrate
Address: | 18001 E EUCLID AVE STE E SPOKANE VALLEY WA 99 |  |  |  |  | Sampling Date: |  |  |  | 2024-11-21
> POTENCY | [16 empty] | Analyte Mass %
94 TOTAL THC TOTAL CANNABINOIDS | [18 empty] | THC: THCa: Total THC: CBD: CBDa: | [7 empty] | 94 < 0.10 94 3.1 0.14
3.2 | [13 empty] | TOTAL CBD |  |  |  |  | Total CBD: | [7 empty] | 3.2
> MYCOTOXINS Analyte LIMIT(PPB) UNIT (PPB)
> HEAVY METALS | [14 empty] | Total Aflatoxins ( B1, B2, G1, G2) 20 Ochratoxin A 20 | [8 empty] | < 9 < 11
Analyte LIMIT (μg/g) UNIT (μg/g)
ARSENIC | [7 empty] | 2 |  |  | < 0.20 | [6 empty] | ND
CADMIUM | [7 empty] | 0.82 |  |  | < 0.20 | [6 empty] | ND
LEAD | [7 empty] | 1.2 |  |  | < 0.55 | [6 empty] | ND
MERCURY | [7 empty] | 0.4 |  |  | < 0.20 | [6 empty] | ND
> RESIDUAL SOLVENTS
Analyte LIMIT (PPM) |  |  |  |  | MASS (PPM) |  |  | Analyte |  |  |  | LIMIT (PPM) |  |  |  |  | Mass (PPM)
Propane 5000 |  |  |  |  | < 16 ND |  |  | Hexanes |  |  |  | 290 |  |  |  |  | < 12 |  |  | ND
Butanes 5000 |  |  |  |  | < 14 ND |  |  | Benzene |  |  |  | 2 |  |  |  |  | < 0.1 |  |  | ND
Cyclohexane 3880 |  |  |  |  | < 31 ND |  |  | Ethyl-Acetate |  |  |  | 5000 |  |  |  |  | < 52 |  |  | ND
Methanol 3000 |  |  |  |  | < 16 ND |  |  | Chloroform |  |  |  | 2 |  |  |  |  | < 0.1 |  |  | ND
Pentanes 5000 |  |  |  |  | < 10 ND |  |  | Heptane |  |  |  | 5000 |  |  |  |  | < 34 |  |  | ND
Acetone 5000 |  |  |  |  | < 37 ND |  |  | Toluene |  |  |  | 890 |  |  |  |  | < 77 |  |  | ND
Isopropanol 5000 |  |  |  |  | < 37 ND |  |  | Xylenes |  |  |  | 2200 |  |  |  |  | < 238 |  |  | ND
Dichloromethane 600 |  |  |  |  | < 12 ND |  |  | Ethanol |  |  |  | 5000 |  |  |  |  | < 1 |  |  | ND
Page 2 of 2 Certificate of Analysis Laboratory license #0012 ¦ (509) 981-2266 ¦ 124 E. Rowan Spokane, WA www.greengrowerlabs.com GF41667005530129
|  | Origination: |  | PURFORM LABS |  |  |  |  | Sample Name: | [6 empty] | VTA Distillate
|  | License: |  | 416670 |  |  |  |  | Type: | [6 empty] | Hydrocarbon Concentrate
|  | Address: |  | 18001 E EUCLID AVE STE E SPOKANE VALLEY WA 99 |  |  |  |  | Sampling Date: | [6 empty] | 2024-11-21
> PESTICIDES
Analyte Limit(PPM) MASS (PPM) Analyte Limit(PPM) MASS (PPM) Analyte Limit(PPM) MASS (PPM)
[7 empty] | Dimethoate |  |  | 0.2 |  |  | < 0.02 |  |  |  |  | ND |  |  | Naled | 0.5 | < 0.02 |  | ND
Abamectin |  |  | 0.5
[7 empty] | Ethoprophos |  |  | 0.2 |  |  | < 0.01 |  |  |  |  | ND |  |  | Oxamyl | 1 | < 0.01 |  | ND
Acephate |  |  | 0.4
Acequinocyl |  |  | 2 | [22 empty] | ND ND ND Detected ND ND ND ND ND ND ND ND ND ND ND ND ND
Acetamiprid |  |  | 0.2
Aldicarb |  |  | 0.4
Azoxystrobin |  |  | 0.2
Bifenazate |  |  | 0.2
Bifenthrin |  |  | 0.2
Boscalid |  |  | 0.4
Carbaryl |  |  | 0.2
Carbofuran |  |  | 0.2
Chlorantraniliprole |  |  | 0.2
Chlorfenapyr |  |  | 1
Chlorpyrifos |  |  | 0.2
Clofentezine |  |  | 0.2
Cyfluthrin |  |  | 1
Cypermethrin |  |  | 1
Daminozide |  |  | 1
DDVP (Dichlorvos) |  |  | 0.1
Diazinon |  |  | 0.2
97
< 0.42
< 0.10
< 0.15
< 0.03
< 0.02
ND ND ND ND ND ND ND ND ND ND ND ND ND ND ND ND ND ND ND
ND
Etofenprox
0.40
0.20
0.20
0.40
0.40
< 0.07
< 0.01
ND ND ND ND ND ND ND ND ND ND ND ND ND ND ND ND ND
ND
Paclobutrazol
Etoxazole
< 0.02
Permethrins a
Phosmet
0.40
0.20
< 0.02
< 0.05
< 0.01
Fenoxycarb
< 0.02
0.20 < 0.01
< 0.07
Fenpyroximate
< 0.04
Piperonyl butoxide
2.0
0.20
0.40
0.20
0.061
Fipronil
Prallethrin
< 0.11
< 0.16
Flonicamid
1.0
< 0.06
Propiconazole
< 0.02
< 0.02
Fludioxonil
0.40
< 0.02
Propoxur
< 0.03
< 0.06
Hexythiazox
1.0 < 0.06
Pyrethrins
1.0 < 0.15
b
< 0.03
Imazalil
0.20 < 0.01
Pyridaben 0.20 < 0.02
< 0.03
Imidacloprid
0.40 < 0.03
Spinosad
0.20 < 0.05
c
< 0.53
Kresoxim-methyl 0.40 < 0.02
Spiromesifen
< 0.11
0.20 < 0.02
Tebuconazole
0.20
0.20
0.40
0.40
< 0.02
< 0.03
Malathion
0.20
< 0.03
Spirotetramat
< 0.03
< 0.09
Metalaxyl
0.20
< 0.02
Spiroxamine
< 0.02
Methiocarb
< 0.02
< 0.06
Methomyl
< 0.29
0.40
0.20
0.20
0.20
< 0.02
Thiacloprid
Thiamethoxam
0.20
< 0.01
Methyl parathion
< 0.06
0.20
< 0.01
< 0.06
MGK-264
< 0.13
Trifloxystrobin
0.20 < 0.06
< 0.02
Myclobutanil
< 0.01
a Sum of Isomers: cis-Permethrin & trans-Permethrin
b Sum of Isomers: Pyrethrin I & Pyrethrin II If a sample result shows a pesticide as detected and a numerical result as less than (example <0.02 c Sum of Isomers: Spinosyn A & Spinosyn D ppm), this indicates the pesticide was detected, but not at a level that can be accurately measured.
ND = Not Detected
Sample ID: